MRE 320 Project: DHT-11

The DHT-11 sensor is a low-cost digital sensor that doubles as a sensor and a module for detecting temperature and humidity. The sensor can be applied for weather monitoring and home automation for HVAC and humidifiers. The DHT-11 sensor uses a capacitive humidity sensor and a thermistor for sensing temperature. The capacitor has two electrodes with a substrate that absorbs moisture. The change in moisture changes the electrical discharge between the electrodes. The thermistor has a negative temperature coefficient, so the resistance decreases as temperature increases.

For testing the sensors, I decided to measure the temperature of my calculator to test the hysteresis. Using a thermometer, I found that the temperature of the calculator was 21.0 degrees Celsius. When I measured the temperature with the sensor, it read 21.1 degrees, which is a difference of 0.1 degrees. When I measured the temperature again from a different direction, it read 21.6 degrees, a difference of 0.6 degrees. I did not have a seperate humidity sensor to compare the humidity, but the sensor read 40% in one direction and 39% in the other direction.

When I tested the drift, I let the sensor read the temperature and humidity for about 10 minutes. The temperature fluctuated between 21.4 and 21.5 degrees. It is likely that the exact temperature was somewhere between the two temperatures. The humidity was constantly 40%. This is very ideal because a sensor that has excessive drifting would be unreliable in its ability to detect accurate temperatures or humidity.

For resolution testing, I used my fingers to test the smallest amount of change the sensor can detect. Using a thermometer, the temperature of my finger was 30 degrees Celsius. The sensor went from 26.1 to 30.9 degrees in 0.1-degree increments. I think the resolution would be better with 0.01-degree increments because the readings put out the same numbers before changing its output as the temperature increases. For instance, it would read 26.0 several times before it says 26.1, and then it reads that multiples times before reading 26.2. The change in output is too gradual for such imprecise readings.